## From IRIS (Jan. 2015) don't tou
Box | Q330 | Baler | Baler cable | Serial cable | short alignment rods | long alignment rods | scredrivers
R1136 | 849 | 7013 | 3 | 3 | 3 | 3 | 3 | Note: one cable (of each kind) to be used at 4100, and one screw driver (in tool box).
R305 | 868, 187 | 05206, 05932, 05569 | 2 | 2
R1038 | 1074, 823 | 5221, 5396, 5135 | 2 | 2
R84 | 847, 974 | 5249, 5260, 6435 | 2 | 2
R821 | 420, 1043 | 5386, 5199, 5338 | 2 | 2
R856 | 1400, 1432 | 5403, 6169, 5306 | 2 | 2
R520 | 1436, 157 | 5220, 7017, 5603 | 2 | 2
R1063 | 1405, 1411 | 5207, 5132, 5228 | 2 | 2 |  |  |  | Note: all Q330s, Baler 5228, and 1 cable (of each kind) to be used at 4100
R651 | 1425, 167 | 5384, 5414, 5247 | 2 | 2 |  |  |  | Note: all to be used at 4100
total | 17 | 25 | 19 | 19 | 3 | 3 | 3
Box | Seismometer | Sesm-BOB cable | BOB-DAQ cable | BOB
B205 | STS2, 39328 | 1 | 1 | 1
B122 | STS2, 60118 | 1 | 1 | 1
B33 | STS2, 90037 | 1 | 1 | 1
B17 | STS2, 110051 | 1 | 1 | 1
B184 | STS2, 110047 | 1 | 1 | 1
B42 | STS2, 60108 | 1 | 1 | 1
B53 | STS2, 89935 | 1 | 1 | 1
B129 | STS2, 119520 | 1 | 1 | 1
B173 | STS2, 109805 | 1 | 1 | 1
B46 | STS2, 120203 | 1 | 1 | 1
B87 | STS2, 109832 | 1 | 1 | 1
B24 | STS2, 109807 | 1 | 1 | 1 | Has a dent on top of the seismometer
B11 | STS2, 50238 | 1 | 1 | 1
B75 | STS2, 110021 | 1 | 1 | 1
B147 | STS2, 99726 | 1 | 1 | 1
B88 | STS2, 109836 | 1 | 1 | 1
B10 | STS2, 40344 | 1 | 1 | 1
total | 17 | 17 | 17 | 17
Need: 17 power boxes (3 immediately), 17 battery to power box cables (3 immediately), 10 powerbox to Q330 cables (0 immediately)

## 1-22-2015
ROSS WAREHOUSE
Box | Q330 | Baler | Baler cable (w/ power rings) | Serial cable (w/ power rings) | short alignment rods | long alignment rods | screwdrivers
R1136 | 849 | 7013 | 3 | 3 | 3 | 3 | 2 | Note: one cable (of each kind) to be used at 4100, and one screw driver (in tool box).
R305 | 868, 187 | 05206, 05932, 05569 | 2 | 2
R1038 | 1074, 823 | 5221, 5396, 5135 | 2 | 2
R84 | 847, 974 | 5249, 5260, 6435 | 2 | 2
R821 | 420, 1043 | 5386, 5199, 5338 | 2 | 2
R856 | 1432 | 5403,5306 | 2 | 2
R520 | 1436, 157 | 5220, 7017, 5603 | 2 | 2
R1063 | 1411 | 5384 | 1 | 1 |  |  |  | Note: ring connectors changed to spade connectors. Also has battery cables, batter tender cables, converter power cables, and 2 terminal blocks. This is ready to go for an underground station.
total | 13 | 19 | 16 | 16 | 3 | 3 | 2 | Note: all to be used at 4100
Box | Seismometer | Sesm-BOB cable | BOB-DAQ cable | BOB | Not deployed?
G23 | Guralp-3T, T36986 | 1 | 1 | 1 | 1 | This sensor was thought to be bad but passed a huddle test on 1/21/2015 . Seems to be OK.
B122 | STS2, 60118 | 1 | 1 | 1 | 1
B184 | STS2, 110047 | 1 | 1 | 1 | 1
B42 | STS2, 60108 | 1 | 1 | 1 | 1
B53 | STS2, 89935 | 1 | 1 | 1 | 1
B129 | STS2, 119520 | 1 | 1 | 1 | 1
B46 | STS2, 120203 | 1 | 1 | 1 | 1
B87 | STS2, 109832 | 1 | 1 | 1 | 1
B24 | STS2, 109807 | 1 | 1 | 1 | 1 | Has a dent on top of the seismometer
B11 | STS2, 50238 | 1 | 1 | 1 | 1
B75 | STS2, 110021 | 1 | 1 | 1 | 1
B147 | STS2, 99726 | 1 | 1 | 1 | 1
B88 | STS2, 109836 | 1 | 1 | 1 | 1
B10 | STS2, 40344 | 1 | 1 | 1 | 1
total | 14 | 14 | 14 | 14 | 14 | Have 13 STS2 and 1 Guralp still in warehouse
MISC BOXES
R269 | 8 ring terminal jumpers, 1 Trillium sensor cable, 2 clamp power cables (4pin military), 8 solarbox to q330 cables, 2 console cables (console, USB), 1 small gps antenna, 4 solar splitters,
R269 (cont) | ... 1 qnet to 4pin power cable, guralp sensor to BOB, 2 Bailers: 5680, 5868, 4 pin power splitter box
R951 | Q330: 851, mated baler: 5943, unmated balers: 5132 & 5943, qnet cable with ring terminals, seriaal with ring terminals, plastic 4pin T-connector to qnet cable
R796 | 2 AL-NFNFB-9?, 5 Flex array radio cables (long), 1 Flex array radio cable (short), 1 battery charger, 2 grounding kits, 1 spring clamp, 1 guralp control unit,
R957 | 1 Radio power thing (BAD), 6 radios, 2 radio-ethernet adapters,
R509 | Tanner's Minnesota stuff: 1 serial+qnet+power (solarbox configuration), clamps to female 4pin (to solarbox), Q330: 798, Baler: 5566
R1082 | 6 GPS antennas, 3 alignment rods
BLUE | Radio brackets, 4 radio antennas, 4 grounding rods, misc ubolts/nuts, 2 solar mounts, conduit (blue fire hose), tarp
SOLAR | 7 panels remaining
Bucket | 4 more solar grounding kits
IRIS needs to give us: more solar mounts, solarboxes, cable configs?
COLD STORAGE
Box number | Equipment box | STS-2 box | Guralp box
R651 | 1
R545 | 1
R249 | 1
R1007 | 1
R272 | 1
R116 | 1
B17 |  | 1
B182 |  | 1
B52 |  | 1
B32 |  | 1
B33 |  | 1
B150 |  | 1
B173 |  | 1
B205 |  | 1
G450 |  |  | 1
G83 |  |  | 1
G234 |  |  | 1
total: | 6 | 8 | 3

## 4-3-2015
2015-04-01 | Balers | Q330 | Baler cable | Serial cable | GPS antenna | Long align. Rods | short align. Rods | Align.screwdriver
R520 | 3 | 2 | 2 | 2
R305 | 3 | 2 | 2 | 2
R1038 | 3 | 2 | 2 | 2
R509 | 3 | 1 |  |  | 1 (Small)
R1136 | 3 |  | 3 | 3 |  | 3 | 2 | 2
R269 | 2
total | 17 | 7 | 9 | 9
R269 | 8 ring terminal jumpers, 1 Trillium sensor cable, 1 clamp power cables (4pin military), 8 solarbox to q330 cables, 2 console cables (console, USB), 1 small gps antenna, 4 solar splitters, Short Guralp, power splitter box, power cable clamps, sensor cable, o-rings,
R99 | 1 yagi antenna, 2 lightning arrestors, 4 power boxes, 4 powerbox to battery connectors
R1082 | 5 GPS antennas, 3 short alignment rods, 3 align screwdrivers
R957 | 1 Radio power thing (BAD), 5 radios, 2 radio-ethernet adapters,
R796 | 2 AL-NFNFB-9 (lightning arrestors), 4 Flex array radio cables (3 long and 1 medium), 1 battery charger, 2 grounding kits, 1 spring clamp, 1 guralp control unit,
HB2 | 3 solar panel mounts, 6 Q330-Qnet-ethernet-male plastic power plug cables, 1 pair of power clamps, 1 power T-connector (2 female, 2 male), 4 Q330 power cables (4-pin male metal connector), headphones, 3 baler-Q330 serial-power (metal 4-pin) cables (has spacer to insert a T), 1 baler-Q330 serial -power (metal 4-pin) cable (cannot insert a T), 1 baler-Q330 serial-Q330 power-power (metal 4-pin) cable (can insert a T; use at Riolite ridge)
HB4 | 1 solar panel mount, 5 omni antennas, 3 grounding rods, 4 radio brackets, ~10 sand bags, cable hose (roll), steel fish tape, leftover brackets, nuts, and U-clamps, 1 Guralp to BOB cable (wrapped in cable hose, corresponds to Guralp in box G23)
BSP144 | 5 solar panels
bucket | 3 radio-LAN converters
1 battery, 12V 100 Amp-hr, 1 battery charger
Surface station needs: 2 solar panels, 1 solar panel mount, radio antenna, radio, radio bracket, radio-LAN converter, flex radio cable (yagi only), lightning arrestor (yagi only), grounding rod, grounding kit, battery, powerbox, battery-to-powerbox cable, Y-cable for solar panels (to powerbox), baler, Q330, baler-Q330-power cables, seismometer, breakoutbox, sensor-BOB cable, BOB-Q330 cable, GPS Antenna
Far surface station needs: 2 solar panels, 1 solar panel mount, grounding rod(?), grounding kit(?), battery, powerbox, battery-to-powerbox cable, Y-cable for solar panels (to powerbox), baler, Q330, baler-Q330-power cables, seismometer, breakoutbox, sensor-BOB cable, BOB-Q330 cable, GPS antenna