## Slide 1: Homestake Surface Array Reconnaissance Report
Gary Pavlis

## Slide 2: Overview
Trip of opportunity – family reunions in SD
At Sanford Lab June 30-July1
Accompanied by Tom Regan
Written reports on 8 locations for 6 sites (2 options for Ross and Yates)
Best to load Google Earth kmz file you should have received to go with next slides
Discuss Ross and Yates last
Discuss 3 outer station option

## Slide 3: What you should see with Google Earth

## Slide 4: OHS – Oro Hondo Substation

## Slide 5: OHS – Ross in background

## Slide 6: OHS – Oro Hondo Substation
RF telemetry to Yates or Ross possible
Good site for solar
May be on up to 2 m of fill (unclear)
Lab property but road maintained by Barrick
Lab has easement for access and key

## Slide 7: WTP-Water Treatment Plant

## Slide 8: WTP – bad stuff in background Clear on other sides

## Slide 9: WTP – Water Treatment Plant
Bedrock site
Good site for solar
At northeast edge of Sanford Property
Close to water treatment plant a problem, but all flat spots in area are impacted by people

## Slide 10: RRDG – Rhyolite Ridge

## Slide 11: RRDB – Yates and Ross visible

## Slide 12: RRDG - Rhyolite Ridge
At summit of peak on north side of open pit
Close to zero soil cover
Perfect line of site to Yates for RF telemetry
4WD road on Barrick property
Permit process in progress
Wind could be an issue here
Should be very quietest site of this set

## Slide 13: LHS – Lead High School

## Slide 15: LHS – Lead High School
Met with School Superintendent – very supportive
Expecting school board approval
Important local outreach activity – working on contacts with school science teachers
Planning student involvement in site prep and installation
Expect to run radio link from site to school internet
AC power – run 12 V line to site as shown in next slide

## Slide 16: ROSS and YATES
Problems
  Master GPS timing constraint
  All that machinery
  Parking lots
Discussion question
  IRIS is willing to supply us with an extra Q330 we can use only for station master
  Fair sites possible within 100 m or so of both shafts: recommend deploying ROSS and YATES sites there

## Slide 17: Yates Remote Option

## Slide 18: ROSS Remote Options
Been here
Added option today

## Slide 19: Discussion 2: Outer Ring
Propose 3 outer ring locations (map next)
  Needed for aperture for array processing
  Can afford them with our budget
These would be standalone (not real time)
  Record only to local disk
  Download every 2 to 3 months
Had 1 hour to try to find sites
  Found one landowner home, turned me down
  County GIS site shows large fraction are summer or ski homes
  Followup needed in Sept if we choose to do this

## Slide 20: Where to put these?