YATES Reconnaissance Report

Site name: LHS	Coordinates:44.3517,-103.7513

Reported by: Gary Pavlis	Elevation:  1624 meters

Visitors: Gary Pavlis and Tom Regan	Time Zone: MDT

Date of Initial Recon:  6/30/2014

Nearest town: Lead, SD

CONTACT INFO

Sanford Underground Laboratory

SITE DETAILS

Vehicle Accessibility: 2WD all times	 	Bedrock Site: yes

Water Available: yes					Utility Lines: no

Landowner Contract: no				AC Power: yes

Fencing: no

Comms:   this site will be hard wired into Yates Admin building communication infrastructure.

Note an alternative site is described in the scanned report.   This site is called option A.

Driving details (list any complications):

Site is in the basement of the Sanford Underground Laboratory administrative building.    Access is through a ladder in the basement of the building.    Plan is to install the sensor on a rock outcrop near the entry point.   Noisy location but location at this site is needed to provide master timing circuit for stations fed from Yates.