## Slide 1: Sheet Resistance Measurements
Jacob Christy & Mitch Frand
06/28/2017

## Slide 2: Sheet Resistance Measurements (cont.)
Current technique: four wire technique (Van der Pauw/Kelvin Sensing) on 3 separate ½” strips sampled from mylar batches.

## Slide 3: Sheet Resistance Measurements (cont.)
Error propagation relation:

## Slide 4: Measured Resistances
Lot #149366-1:
Lot #149366-2:
Lot #149366-1:
Lot #149366-2:
Manufacturer’s specs give 0.857 Ω/sq.